## Worksheet 1
Uncertainty component | Standard
uncertainty/%
Radiometric calibration | 0.8
Lamp stability | 0.2
Non-linearity and stray light | 0.4
Stability | 0.8
Temperature dependence | 0.1
Measurement noise | 0.2
Wavelength shift | 0.1
Combined uncertainty (k=1) | 1.24
Expanded measurement uncertainty (k=2) | 2.5