## Worksheet 1
Key changes | Version 2 | Version 2.5
Cloud height detection | Rault (2005) | New algorithm to better discriminate between clouds and aerosol (Chen et al., 2016)
Altitude registration | Static corrections of 0.58, 1.18 and 1.75 km for the left, center and right slits, respectively | Static corrections of 1.12, 1.37 and 1.52 km for the left, center and right slits, respectively; +0.1 km adjustments for all three slits on 25 April 2013 and on 5 September 2014; Intra-orbital and seasonal TH adjustments of ∼ 0.3–0.4 km (Moy et al., 2017)
Stray light corrections | Prelaunch SL corrections; Corrections for unexpected thermal sensitivity in NH (Jaross et al., 2014) | Empirical corrections for VIS (similar to those described in Taha et al., 2008)
Wavelengths selection | UV: 289–325 nm paired with 353 nm (about 43 UV pairs) VIS: 549–633 nm combined with the reference wavelengths at 510 and 673 nm to form ∼ 17 VIS triplets | UV: 302, 312 and 322 nm paired with 353 nm (three UV pairs); VIS: 600 nm combined with 510 and 675 nm to form a single VIS triplet
Radiance normalizationaltitude | UV: 65 km VIS: 45 km | UV: 55 km VIS: 40 km
Aerosol correction | No explicit aerosol correction | Use aerosol extinction coefficient profiles retrieved from LP measurements for same event (Loughman et al., 2017)
Vertical smoothing | Second-order Twomey–Tikhonov regularization term | Define a priori covariance matrices Sa assuming 25 % ozone variability above 20 km, 50 % ozone variability below 16 and 5 km inter-level correlation
Measurement error | UV: 1 % VIS: 1 % | UV: 1 % VIS: 0.5 %