## Worksheet 1
Water vapor mole
Method | fraction range (ppm) | Result
Dew point mirror (Dewmet) from 2013 | 7000–25 000 | H2ODewmet2013 = (0.802 ± 0.010) ⋅ H2Ouncalibrated
FISH calibration bench | 2–600 | H2OcalBench = (0.97 ± 0.04)
⋅ H2ODewmet2013− (12.2 ± 0.5) ppm
CO2 dilution effect | 300–27 000 | H2Odilution = (1.029 ± 0.023)
⋅ H2ODewmet2013 − (16.1 ± 1.6) ppm