## Worksheet 1
LTA | Mirror | Focal | Field of | Parallax | Optical filter | Filter maximum
| diameter (cm) | length (mm) | view (mrad) | (mm) | width (nm) | transmission (%)
High-gain Rayleigh | 4× 50 | 1500 | 0.27 | 800 | 0.3 | 84
Low-gain Rayleigh | 20 | 600–800 | 1.7 | 257 | 0.3 | 84
Nitrogen Raman | 80 | 2400 | 0.6 | 600 | 1 | ∼50
Water Raman | 80 | 2400 | 0.6 | 600 | 1 | ∼50
Aerosol Mie | 20 | 600–800 | 1.7 | 257 | 0.3 | 84