## Worksheet 1
Label | Picarro | Picarro | Droplet | Stable H2O level experiment: external | Stable H2O level experiment:
| analyzer | analyzer | experiment with | cavity pressure measurement/usable | spectroscopic cavity
| model | type | external pressure | trace gas measurements (reason) | pressure measurements
measurement
No. 1 | G2401-m | Flight-ready | Yes | Yes/no (used ambient air) | No
No. 2 | G2401 | Regular | No | Yes/no (disregarded equilibration) | No
No. 3 | G2401-m | Flight-ready | No | Yes/yes | No
No. 4 | G2401-m | Flight-ready | No | No (conducted before cavity pressure | No
hypothesis was developed)/yes
No. 5 | G2301 | Regular | No | No (remote field site)/yes | No
No. 6 | G2207-i | Regular | No | No (replaced by spectroscopic | Yes
measurements)/
No (analyzer measures oxygen,
not CO2 and CH4)