## Worksheet 1
Sonde characteristics | RS41-SG radiosonde | S1H2 Windsond
Temperature
Sensor type | Platinum resistor | Band gap
Measurement range | +60 to −90 ∘C | +80 to −40 ∘C
Accuracy repeatability in calibration | 0.1 ∘C | 0.3 ∘C
Resolution | 0.01 ∘C | 0.01 ∘C
Response time (63.2 %, 6 m s−1 flow, 1000 hPa) | 0.5 s | 5 s