## Worksheet 1
Source | Description | Value
Calibration of RH sensor uUcalib | Provided by the manufacturer | 2/3
Frequency splitting uSD1(U) | Derived by Eq. (8) in Sect. 5.3 | Depending on the measurement
Contamination correction uSD3(U) | Derived by Eq. (8) in Sect. 5.3 | Depending on the measurement
Moving averaging uSD4(U) | Derived by Eq. (8) in Sect. 5.3 | Depending on the measurement
Time lag correction uTL(U) | 123uτ=τU+uτU-U(τ=τU+uτU) | Depending on the measurement
u(τU)=0.25
TUD correction uTUD(U) |  | 1.8
Ts∕Ta correction uTs(U) | 123U(Ts=Ts,fin+uTs-U(Ts=Ts,fin-u(Ts)u(Ts)=0.3 | Depending on the measurement
Hysteresis uhysteresis(U) | only when relative humidity is decreasing | 0 (ΔU/Δt≥-0.05)
1.8/3 (ΔU/Δt
Statistical uSD(U) | uSD12U+uSD32U+uSD42(U) | Depending on the measurement
Correlated ucor(U) | uUcalib2+uTL2U+uTUD2U+uTs2U+uhysteresis2(U) | Depending on the measurement
Total u(U) | uSD2U+ucor2(U)