## Worksheet 1
Description | Label | Manufacturer | Model
CRDS analyzer | CRDS analyzer | Picarro | G2301
Membrane pump | MP1 | Picarro | Picarro vacuum pump
Piston pump | PP1 | Gardner Denver Thomas | 617CD32
Flowmeter | FM1 | OMEGA | FMA1826A
Flowmeter | FM2 | OMEGA | FMA1814A-ST
Flowmeter | FM3 | OMEGA | FMA1812A
Multiposition valve | MPV1 | VICI | Valco EMT2CSD6MWM
Solenoid valve | V1–V4 | SMC | VDW350-6W-2-01N-H-X22-Q
Needle valve | NV1–NV3 | Swagelok | SS-2MG
Gas tanks | High, middle, low, target | Luxfer Gas Cylinders | 20 l T-PED cylinders, Type P3056Z
Pressure regulator | RE1–4 (incl. pressure gauges P2–P9) | TESCOM | 44-3440KA412-S
Pressure sensor | P1 | Keller | PAA-21Y
Stainless steel tubing | ss tube 1/16′′ | VICI | VICI Jour JR-T-625-40
Stainless steel tubing | ss tube 1/8′′ | VICI | VICI Jour JR-T-626-00
Flexible tubing | flex tube 1/4′′ | SERTO | SERTOflex 6.35S
Inlet filter | F1, F2 | Solberg | F-15-100
Filter | F3, F4 | Swagelok | SS-4TF-40
Filter | F5, F6 | Swagelok | SS-4FW-2