## Worksheet 1
| LOD (3 × SD; ppbv) | Upper limit (ppmv) | 90 % decay time (s) | Measurement time | 1σ accuracya | Possible interferences
Innova | 421(200a) | (–)b | 1700–4000 (5.2–8.8 ppmv); | Less than 2 min | 16.4 % | Non-targeted gases with
450–550 (100 ppmv) | IR spectra overlapping
PTR-MS | 21.5 | 10c | 70–80 (5.2 ppmv) | Less than 5 s | 10.3 % | Intrinsic ion at m∕z 18
Picarro | 0.662 | > 20d | 4.5–4.7 (5.2 ppmv) | Less than 2 s | 10.2 % | Negligibled