## Worksheet 1
Orbit | 600 km, sun-synchronous
Mass | 90 kg
Swath | 50 km
Spatial resolution | 50×50 m2
Spectral range | 1559–1672 or 1982–2092 nm
FWHM (2.5 pix) | 1.37 or 1.29 nm
Resolving power | 1200 or 1600 (–)
Aperture diameter | 15.0 cm
f number (fnum) | 2.4 (–)
Optical efficiency (η) | 0.48 (–)
Integration time (tint) | 70 ms
Detector pixel area (Adet) | 900 µm2
Quantum efficiency (Qe) | 0.8 e− photon−1
Dark current (Idc) | 1.6 fA pix−1 s−1
Readout noise | 100 e−
Quantization noise | 40 e−