## Worksheet 1
Effect | Evaluation | Comment
Uncertainty related to the determination of | Far lamp: ±0.5 m ⇒ ±0.02∘ | Applies to all methods
the target position | Near lamp: ±2 mm and ±0.1∘ ⇒±0.11∘
Horizon scans: ±5 m ⇒ ±0.22∘
White stripe: ±5 mm ⇒ ±0.08∘
Motor uncertainties | Approaching positions from different directions (upwards/downwards) can cause large systematic errors (e.g. 0.4∘ for the MPIC instrument). | Negligible if positions are always approached from the same direction for most instruments.
Errors associated with the Gaussian fits (standard errors of the retrieved centres); systematic if intensity curves are asymmetric | Ranging from ±0.01∘ to roughly ±0.1∘ depending on the instrument. | Applies to all methods. However, for many of the instruments it is of the order of ±0.01∘.
Atmospheric refraction | The effect of atmospheric refraction can become large for almost horizontal light paths. For example, for observations of the sun or the moon deviations of about 0.5∘ occur for observations close to the horizon. | Not important for white-stripe and near-lamp measurements. Since for the horizon scans and the far-lamp measurements the horizontal distance is much shorter than for the observation of extraterrestrial objects close to the horizon; the effect of refraction is also very small:
Visibility | Low visibility influences measurements where the target is located at a far distance from the instrument. | Not important for white-stripe and near-lamp measurements. If only good conditions are selected, this effect is also negligible for horizon scans and far-lamp measurements.